## Slide 1
L. Hempel1, F. Capuano2
Predicting Comprehensive Genomic Profiles from Targeted Panels with Generative Models
FPN
P305
1 Background
Comprehensive genomic profiling (CGP) guides treatment in NSCLC, but panel content, cost and turnaround time differ widely between institutions, and smaller targeted panels leave part of the tumour genome unmeasured.
EBAI class B. Under the ESMO basic requirements for AI-based biomarkers, a model that predicts an established biomarker from an input other than the gold-standard test (here, the smaller panel itself) is class B: higher risk than class A, intended to enrich a population for confirmatory testing or, only with a very high NPV, to rule it out, never to replace the genomic test.
Objective. To learn the conditional distribution of alterations in genes absent from a targeted panel given the genes it measures, benchmark it against simple baselines, and evaluate it along the seven EBAI dimensions: comparator, performance, generalisability, fairness, explainability, cost and turnaround time.
2 Study design
IMPACT341 · 341 genes (input)
164 genes (target)
Figure 1. Task definition. IMPACT341 ⊂ IMPACT505; the 164 genes present only in IMPACT505 are masked from the input and predicted.
Table 1. Cohort and target characteristics (MSK-CHORD).
Patients, NSCLC, sequenced on IMPACT505 | 2,226
Input genes (IMPACT341) | 341
Target genes (IMPACT505 \ IMPACT341) | 164
Altered target gene–patient pairs | 1.21%
Test-set patients | ≈334
Patient-level split: train / validation / test | 70 / 15 / 15%*
* Test (15%, ≈334 patients) and validation (15%) as in the abstract; the remaining 70% trains the model. The abstract’s “75%” for training would sum to 105%.
Alteration encoding. Gene alterations were encoded as binary events comprising non-synonymous mutations and copy-number alterations.
Target: one binary event per gene and patient (any non-synonymous mutation, including variants of unknown significance, amplification or deep deletion; fusions and other structural variants not modelled).
Input: separate mutation, amplification and deletion indicators for the 341 assayed genes. One sample per patient. Genes not covered by a sample’s panel are treated as missing, never as wild type.
3 Methods
3.1 Problem formulation. Given the observed IMPACT341 profile c, we learn the conditional distribution p(x₁ | c) over the 164 target genes. Binary targets are embedded as x₁ ∈ {−1,+1}¹⁶⁴ (continuous relaxation); generated profiles are binarised by sign. Data were split by patient into 70% training, 15% validation (all model and hyperparameter selection) and 15% test, evaluated once.
3.2 Conditional flow matching. A velocity field vθ, a neural network (architecture variants compared on the validation set), is regressed onto the straight-line path between Gaussian noise and data:
xt = (1 − t) x0 + t x1, x0 ~ 𝒩(0, I), t ~ 𝒰(0, 1)
ℒ(θ) = 𝔼 ‖ vθ(xt, t | c) − (x1 − x0) ‖²
x0 ~ 𝒩(0, I)
→
dx/dt = vθ(xt, t | c)
→
x̂1 ∈ ℝ164
conditioning c: observed IMPACT341 profile
Figure 2. Sampling: the learned ODE, integrated numerically from t = 0 to 1, transports noise to a completed 164-gene profile conditioned on the observed panel.
3.3 Probability read-out. At t = 0, xₜ is independent of x₁, so v*(x₀, 0 | c) = 𝔼[x₁ | c] − x₀ and p̂ = ½(1 + x₀ + vθ(x₀, 0 | c)), averaged over K noise draws. This avoids the Monte Carlo ties that sample frequencies produce at ~1% prevalence.
3.4 Evaluation (EBAI). Pre-specified primary endpoint: pooled AUROC. Secondary: per-gene AUROC (genes with ≥5 test events; prevalence-only = 0.50); AUPRC (chance = 0.012); calibration plot, slope, intercept, O:E and Brier skill; at the intended-use threshold for ≥1 altered target gene, sensitivity, specificity, PPV, NPV and LR±; NRI over the burden + locus model and decision-curve analysis; joint fidelity (energy score versus independent Bernoulli draws). Comparators (same splits): prevalence, burden + locus, L2 logistic regression; 95% CIs and paired differences by patient bootstrap.
Sample size (post hoc; EBAI asks a priori): ≈334 test patients give a 95% CI half-width of ≈ ±0.05 for a patient-level AUROC of 0.79 (Hanley–McNeil, 43% prevalence assumed).
3.5 External replicate. MSK-IMPACT 2017 (cBioPortal): IMPACT341 → 69 IMPACT410-only genes, 1,215 NSCLC patients, 3 × 5-fold patient-level CV, AUROC within folds.
4 Results
4.1 Primary cohort. Across architectures and training paradigms, the flow model reached a pooled test AUROC of 0.77–0.79, above the prevalence-only baseline in every variant. The abstract reports no other metric.
Table 2 sets these gaps against what the replicate measures.
Table 2. Metrics reported for the MSK-CHORD flow model versus those measured in the replicate (L2 logistic regression, 3 × 5-fold CV; 95% CI). n.r., not reported.
Metric (EBAI) | MSK-CHORD | Replicate
Pooled AUROC | 0.77–0.79 | 0.778 (0.754–0.796)
Per-gene AUROC | n.r. | 0.728 (0.705–0.753)
AUPRC (chance ≈ 0.011) | n.r. | 0.114
Calibration slope · O:E | n.r. | 0.97 · 1.08
Brier skill vs prevalence | n.r. | 0.042
NPV at 90% sensitivity* | n.r. | 0.86 (LR− 0.22)
Joint fidelity (energy score) | n.r. | not applicable
* Patient level: ≥1 altered target gene (prevalence 43%).
4.2 Benchmark on public data. Pooled AUROC compares pairs across genes, so ranking genes by training frequency alone scores 0.715. Per gene, a 7-feature model matches 1,026-feature logistic regression (0.760 vs 0.728), and pan-cancer training adds +0.039 (95% CI 0.024–0.057; Figure 3).
Pooled AUROC
Per-gene AUROC
Lines: 95% CI
Prevalence only
0.715
0.500
Burden + locus
0.760
0.760
L2 logistic regression
0.778
0.728
Pan-cancer logistic
0.808
0.767
0.50
0.60
0.70
0.80
0.90
Figure 3. Replicate (n = 1,215): AUROC with patient-bootstrap 95% CI. Pan-cancer: trained on 7,773 patients with cancer type as covariate.
4.3 Simulated versus real input. In 167 patients sequenced on both panels, taking the input from the separate IMPACT341 assay instead of masking the IMPACT410 sample lowered pooled AUROC from 0.84 to 0.70 and per-gene AUROC from 0.80 to 0.61 (pan-cancer logistic regression). The paired samples also differ in specimen and time, so the gap combines assay shift and tumour heterogeneity.
4.4 Sources of signal. Amplifications were highly discriminable (AUROC 0.95), explained largely by co-amplification with neighbouring assayed genes (NFKBIA with NKX2-1 in 39/39 cases). Mutations reached 0.73, no better than three mutational-burden counts alone (Figure 4).
0.5
0.6
0.7
0.8
0.9
1.0
Deep deletions (n = 18)
0.711
Mutations, burden only
0.726
Mutations (n = 646)
0.728
Amplifications (n = 134)
0.949
Figure 4. Replicate: per-gene AUROC by event type (positives-weighted mean; axis origin 0.50), pan-cancer logistic regression.
5 EBAI assessment
EBAI class B · indirect measure of existing biomarkers · use: enrichment
Essential
Comparator
Met
IMPACT505 NGS on the same sample
Discrimination
Partial
Pooled AUROC 0.77–0.79; per gene n.r.
Operating point
Partial
Replicate: Se 0.90, NPV 0.86, LR− 0.22
Calibration
Partial
Replicate: slope 0.97, O:E 1.08
Indep. cohort
Not yet
Single institution; external cohort needed
Assay variation
Partial
Real IMPACT341 input: AUROC 0.84 → 0.70
Recommended
Fairness
Not yet
Sex, ancestry, smoking, histology
Explainability
Met
Ablation: CN locus + mutational burden
Additional
Cost
Partial
Reuses routine panel data; not costed
Turnaround
Partial
Inference in seconds; workflow not timed
Validation
Sample size
Partial
Post hoc: ≈ ±0.05 AUROC with 334 test patients
NRI / DCA
Not yet
Versus burden + locus model; triage threshold
Post-adoption
Monitoring
Not yet
Drift with panel versions and populations
Figure 5. Assessment along the seven EBAI dimensions and validation requirements for class B. Replicate values from MSK-IMPACT 2017; n.r., not reported. CN, copy number; DCA, decision-curve analysis; NRI, net reclassification improvement.
6 Limitations
Study and clinical use
Evaluation. Single 15% test split; pooled AUROC without CI; no per-gene AUROC, AUPRC, calibration or joint-fidelity metric; architecture variants unspecified; split stated as 75/15/15%.
Validity. Simulated masking of one IMPACT505 assay; single institution; no independent or real paired-assay cohort. Replicate values (Table 2, Figures 3–4) come from logistic regression on MSK data, not the flow model.
Actionability. Binary gene-level events carry no variant level (e.g. KRAS G12C) and no ESCAT tier; fusions (ALK, ROS1, RET, NTRK, MET ex14), the most actionable NSCLC class, are not modelled. No treatment decision can rest on a prediction.
Confirmation burden. At ~1% prevalence most predicted positives are false (replicate PPV 0.02–0.05) and NPV 0.86 still misses targets; every result needs confirmatory CGP, with its tissue, cost and delay.
Clinical utility. No evidence that triage changes time to treatment, therapy choice or survival; no decision-curve analysis or prospective silent trial.
Population and assay. Single tertiary centre; stage, treatment line, prior TKI exposure, histology, smoking, purity and primary vs metastatic site not stratified; matched-normal pipeline differs from tumour-only external panels.
Regulatory. Not CE-IVD or FDA cleared; an in-house IVDR device without a monitoring plan.
7 Conclusions
A targeted panel predicts part of the unassayed genome, mainly through copy-number co-location and mutational burden.
As an EBAI class B biomarker its use is enrichment for confirmatory CGP, not rule-out (replicate NPV 0.86).
Next: per-gene and calibration metrics, an independent multi-centre cohort and a fairness audit.
References
1. Jee J, et al. Automated real-world data integration improves cancer outcome prediction. Nature 2024;636:728–36.
2. Zehir A, et al. Mutational landscape of metastatic cancer revealed from prospective clinical sequencing of 10,000 patients. Nat Med 2017;23:703–13.
3. Lipman Y, et al. Flow matching for generative modeling. ICLR 2023.
4. Collins GS, et al. TRIPOD+AI statement. BMJ 2024;385:e078378.
5. Aldea M, et al. ESMO basic requirements for AI-based biomarkers in oncology (EBAI). Ann Oncol 2026;37:414–25.
Data and code
MSK-CHORD and msk_impact_2017 via cBioPortal. Code and split IDs: github.com/chiaralouisa/brainmets-POP, available on request.
Disclosures · Contact
The authors declare no conflicts of interest.
L. Hempel · louisa.hempel@googlemail.com
1 Medical Department, Sigmund Freud University Vienna, Vienna, Austria 2 Oxford Robotics Institute, University of Oxford, Oxford, United Kingdom
NSCLC cases from the MSK-CHORD cohort with MSK-IMPACT sequencing were analysed.
The completion task: predict the larger IMPACT505 panel (505 genes) from the smaller IMPACT341 panel (341 genes), evaluated on the 164 genes present in IMPACT505 but not in IMPACT341.